## screen_dashboard
STT | function call | Display value | varible name | Note | file
1 | lv_label_set_text(pxExt->pxTextLabel, pcText); is set in function vSetResumeInfoState(IW_create, RESUMEINFO_WORK_IN_PROGRESS , "Work Progress"); | Ready Work in progress Job finished Wait in progress |  | set lable | ResumeInfoWidget.c
2 | lv_label_set_text(_xWelcomeMsgLabel, "Welcome Steve"); | Welcome Steve | _xWelcomeMsgLabel | set well come message | screen_dashboard.c
3 | lv_label_set_text(_xTodaysDateLabel, today_Date_Msg); | Today is 19, DEC 2021 | _xTodaysDateLabel | set Today message | screen_dashboard.c
4 | lv_label_set_text(pxExt->pxPercentValue, "Let's \nStart"); lv_label_set_text(pxExt->pxPercentValue, " \nPower \nissue"); lv_label_set_text_fmt(pxExt->pxPercentValue, "\nStarts at\n %s \n%s\n", startTime, guiDate); //startTime lv_label_set_text(pxExt->pxPercentValue, "\n finished \nsuccessfully"); lv_label_set_text_fmt(pxExt->pxPercentValue, " Alert \n service \nneeded", 12); lv_label_set_text_fmt(pxExt->pxPercentValue, "\nMetrology\n in \n %02d Days", 12); lv_label_set_text_fmt(pxExt->pxPercentValue, "%s", " Export \n in \nprogress "); | Let start Power issuse Start att *** finished successfully Alert service ** Metrology Export | pxExt->pxPercentValue | set text of the lable start | ResumeInfoWidget.c
5 | lv_label_set_text(fix_liters_Label, "TOTAL LITERS"); | TOTAL LITERS | fix_liters_Label |  | ResumeInfoWidget.c
6 | lv_label_set_text(fix_hour_Label, "TOTAL HOURS"); | TOTAL HOURS | fix_hour_Label |  | ResumeInfoWidget.c
7 | vSetResumeInfoLitersInt(IW_create, TotalliterInt); vSetResumeInfoLitersFloat(IW_create,TotalLiterFloat); | Total liters |  |  | screen_dashboard.c
8 | vSetResumeInfoHour(IW_create, totalHourInt, totalHourFloat) ; | Total hours |  |  | screen_dashboard.c
9 |  | START JOB VIEW SUMMARY STOP VALID FORCE STOP VIEW SUMMARY FORCE START | dashboardBTNTxt | set text of the button | ResumeInfoWidget.c
10 | vSetResumeInfoPercent(IW_create, 0) | set percent circle |  |  | ResumeInfoWidget.c
11 | button | display or hiden menu list (sheet Menu List) | xMenulist1 |  | screen_dashboard.c

## Menu List
STT | function call | Display value | varible name | Note | file
1 | list_btn = lv_list_add_btn(xMenulist1, &service_icon, "PID TUNE"); //LV_SYMBOL_FILE | PID TUNE | add button to list button "list_btn" | button | screen_dashboard.c
2 | list_btn = lv_list_add_btn(xMenulist1, &archiv_icon, "ARCHIV"); | ARCHIV | add button to list button "list_btn" | button | screen_dashboard.c
3 | list_btn = lv_list_add_btn(xMenulist1, &metrology_icon, "METROLOGY"); | METROLOGY | add button to list button "list_btn" | button | screen_dashboard.c
4 | list_btn = lv_list_add_btn(xMenulist1, &parameter_icon, "PARAMETER"); | PARAMETER | add button to list button "list_btn" | button | screen_dashboard.c
5 | list_btn = lv_list_add_btn(xMenulist1, &info_icon, "INFO"); | INFO | add button to list button "list_btn" | button | screen_dashboard.c
6 | event button press: event_handler_xListBtn |  |  | button | screen_dashboard.c

## Menu List PID
STT | function call | Display value | varible name | Note | file
1 | lv_label_set_text(CurrKpLbl, "Kp_n ="); | Kp_n = | CurrKpLbl | set label | screen_PIDtune.c
2 | lv_label_set_text(CurrKiLbl, "Ki_n ="); | Ki_n = |  | set label | screen_PIDtune.c
3 | lv_label_set_text(CurrKdLbl, "Kd_n ="); | Kd_n = |  | set label | screen_PIDtune.c
4 | lv_label_set_text(nCoffTxtLbl, "nCoff ="); | nCoff = |  | set label | screen_PIDtune.c
5 | lv_label_set_text_fmt(CurrKpLblVal, "%s", KpRollerBuf ); | "01" |  | the value will set when user push "save PID" button | screen_PIDtune.c
6 | lv_label_set_text_fmt(CurrKiLblVal, "%s", KiRollerBuf ); | "02" |  | the value will set when user push "save PID" button | screen_PIDtune.c
7 | lv_label_set_text_fmt(CurrKdLblVal, "%s", KdRollerBuf ); | "03" |  | the value will set when user push "save PID" button | screen_PIDtune.c
8 | lv_label_set_text(nCoffLbl, "00"); only call when init screen | "00" |  | only call when init screen, not update when select value in scroll need to fix | screen_PIDtune.c
9 | lv_label_set_text(CurrKp_aLbl, "¦¦ Kp_a ="); | ¦¦ Kp_a = |  | set label | screen_PIDtune.c
10 | lv_label_set_text(CurrKi_aLbl, "¦¦ Ki_a ="); | ¦¦ Ki_a = |  | set label | screen_PIDtune.c
11 | lv_label_set_text(CurrKd_aLbl, "¦¦ Kd_a ="); | ¦¦ Kd_a = |  | set label | screen_PIDtune.c
12 | lv_label_set_text(aCoffTxtLbl, "¦¦ aCoff ="); | ¦¦ aCoff = |  | set label | screen_PIDtune.c
13 | lv_label_set_text(CurrKp_aVal, "00"); only call when init screen | "00" |  | only call when init screen, not update when select value in scroll need to fix | screen_PIDtune.c
14 | lv_label_set_text(CurrKi_aVal, "00"); only call when init screen | "00" |  | only call when init screen, not update when select value in scroll need to fix | screen_PIDtune.c
15 | lv_label_set_text(CurrKd_aVal, "00"); only call when init screen | "00" |  | only call when init screen, not update when select value in scroll need to fix | screen_PIDtune.c
16 | lv_label_set_text(aCoffTxtVal, "00"); only call when init screen | "00" |  | set label | screen_PIDtune.c
17 | lv_label_set_text(SetKpLbl, "Kp_n"); | Kp_n |  | set label | screen_PIDtune.c
18 | lv_label_set_text(SetKiLbl, "Ki_n"); | Ki_n |  | set label | screen_PIDtune.c
19 | lv_label_set_text(SetKdLbl, "Kd_n"); | Kd_n |  | set label | screen_PIDtune.c
20 | lv_label_set_text(SetnCoffLbl, "nCoff"); | nCoff |  | set label | screen_PIDtune.c
21 | lv_label_set_text(SetKp_aLbl, "Kp_a"); | Kp_a |  | set label | screen_PIDtune.c
22 | lv_label_set_text(SetKi_aLbl, "Ki_a"); | Ki_a |  | set label | screen_PIDtune.c
23 | lv_label_set_text(SetKd_aLbl, "Kd_a"); | Kd_a |  | set label | screen_PIDtune.c
24 | lv_label_set_text(SetaCoffLbl, "aCoff"); | aCoff |  | set label | screen_PIDtune.c
1 | lv_label_set_text(pidSaveLabel, "Save PID") | Save PID |  | button set call back "pidSaveBTN_event_handler" update value of PID | screen_PIDtune.c
2 | lv_label_set_text(SetTimeLabel, "Set RTC Time & Date"); | Set RTC Time & Date |  | set label | screen_PIDtune.c
3 | lv_label_set_text(SetDDTxtLabel, "DD"); | DD |  | set label | screen_PIDtune.c
4 | lv_label_set_text(SetMMTxtLabel, "MM"); | MM |  | set label | screen_PIDtune.c
5 | lv_label_set_text(SetYYYYTxtLabel, "YYYY"); | YYYY |  | set label | screen_PIDtune.c
1 | lv_label_set_text(SetDDTxtLabel, "DD"); | DD |  | set label | screen_PIDtune.c
2 | lv_label_set_text(SetMMTxtLabel, "MM"); | MM |  | set label | screen_PIDtune.c
3 | lv_label_set_text(SetYYYYTxtLabel, "YYYY"); | YYYY |  | set label | screen_PIDtune.c
4 | lv_label_set_text(SetHourTxtLabel, "HOUR"); | HOUR |  | set label
5 | lv_label_set_text(SetMinuteTxtLabel, "MIN"); | MIN |  | set label
6 | lv_label_set_text(SetSecondTxtLabel, "SEC"); | SEC |  | set label
7 | lv_label_set_text(pidTimeSaveLabel, "Update Time"); |  |  | button update time call back "timeSaveBTN_event_handler"

## Menu List ARCHIV
STT | function call | Display value | varible name | Note | file
1
2
3
4
5
6

## Menu List METROLOGY
STT | function call | Display value | varible name | Note | file
1 | lv_label_set_text(__smmMetroHeadingLbl, "Metrology"); | Metrology | set lable |  | screen_metro_menu.c
2 | lv_label_set_text(_smmSensorParBtnLbl1, "CHANGE PASSWORD"); | CHANGE PASSWORD | set lable |  | screen_metro_menu.c
3 | lv_label_set_text(_smmSensorParBtnLbl, "SET SERVICE"); | SET SERVICE | set lable |  | screen_metro_menu.c
4 | lv_label_set_text(_smmNewCalBtnLbl, "FLOW CALIBRATION"); | FLOW CALIBRATION | set lable |  | screen_metro_menu.c
5 | lv_label_set_text(_smmNewVerTestBtnLbl, "NEW VALIDATION TEST"); | NEW VALIDATION TEST | set lable |  | screen_metro_menu.c
6 | sqSetHeading(_smmVTC, "VALIDATION TEST"); | VALIDATION TEST | set lable |  | screen_metro_menu.c
7 | lv_label_set_text(_sqFlowSetPtTxt, "Flow Set Point:"); | Flow Set Point: | set lable |  | sequence_widget.c
8 | lv_label_set_text(_sqDurationTxt, "Duration:"); | Duration: | set lable |  | sequence_widget.c
9 | lv_label_set_text(_sqProblemTxt, "Problem:"); | Problem: | set lable |  | sequence_widget.c
10 | lv_label_set_text(_sqFlowSetPtUnit, "L/min"); | L/min | set lable |  | sequence_widget.c
11 |  |  |  |  | screen_metro_menu.c
12 | sqSetProblem(_smmVTC, "NONE"); | "NONE" | set lable
1 | lv_label_set_text(__mfsFlowHeadingLbl, "Flow"); | Flow | set lable |  | screen_metro_flowsetting.c
2 | lv_label_set_text(_mfsCurveTxt, "CURVE"); | CURVE | set lable |  | screen_metro_flowsetting.c
3 | lv_label_set_text(_mfsUnitTxt, "UNIT"); | UNIT | set lable |  | screen_metro_flowsetting.c
4 | lv_dropdown_set_options(_mfsCurveDropDown, | Linear4 Linear5 Linear6 Linear7 Linear8 | set lable of scroll |  | screen_metro_flowsetting.c
5 | lv_dropdown_set_options(_mfsUnitDropDown, | LPM LPH | set lable of scroll |  | screen_metro_flowsetting.c
6 | lv_label_set_text(_mfsAlarmSetPointTxt, "ALERT FROM SET POINT"); | ALERT FROM SET POINT | set lable |  | screen_metro_flowsetting.c
7 | lv_label_set_text(_mfsOnOffTxt, "ON / OFFF"); | ON / OFFF | set lable |  | screen_metro_flowsetting.c
8 | lv_label_set_text(_mfsLowerLimitTxt, "LOWER LIMIT"); | LOWER LIMIT | set lable |  | screen_metro_flowsetting.c
9 | lv_label_set_text(_mfsHigherLimitTxt, "HIGHETR LIMIT"); | HIGHETR LIMIT | set lable |  | screen_metro_flowsetting.c
10 | lv_label_set_text(_mfsActionTxt, "ACTION"); | ACTION | set lable |  | screen_metro_flowsetting.c
11 | lv_label_set_text(_mfsDisableDeviceTxt, "DISABLE DEVICE AFTER ALERT"); | DISABLE DEVICE AFTER ALERT | set lable |  | screen_metro_flowsetting.c
12 | lv_label_set_text(_mfsValidTxt, "VALID & ADJUST"); | VALID & ADJUST | set lable |  | screen_metro_flowsetting.c
1 | lv_label_set_text(__fcsMetroHeadingLbl, "Flow"); | Flow | set lable |  | screen_metro_flowadj.c
2 | lv_label_set_text(_fcsCalPtXLbl, "CALIBRATE POINT X"); | CALIBRATE POINT X | set lable |  | screen_metro_flowadj.c
3 | lv_label_set_text(_fcsValidBtnLbl, "VALID"); | VALID | set lable of a button |  | screen_metro_flowadj.c
1 | lv_label_set_text(__fasFlowHeadingLbl, "Flow"); |  |  |  | Screen_metro_flowcal.c
2 | lv_label_set_text(_fasFactoryValTxt, "FACTORY VALUE:"); |  |  |  | Screen_metro_flowcal.c
3 | lv_label_set_text(_fasFactoryValVar, "7,56"); |  |  |  | Screen_metro_flowcal.c
4 | lv_label_set_text(_fasReferenceValTxt, "REFERENCE VALUE:"); |  |  |  | Screen_metro_flowcal.c
5 |  |  |  |  | Screen_metro_flowcal.c
6 | lv_label_set_text(_fasCorrectionTxtLbl, "CORRECTION:"); |  |  |  | Screen_metro_flowcal.c
7 | lv_label_set_text(_fasAdjustFlowLbl, "ADJUST PUMP SPEED :"); |  |  |  | Screen_metro_flowcal.c
8 | lv_label_set_text(_fasValidTxt, "VALID"); |  |  |  | Screen_metro_flowcal.c
1 | lv_label_set_text(pswdmsg," Enter-NEW \nMetrology Password"); |  | set lable |  | screen_metro_pswd.c
1 | lv_label_set_text(pswdmsg," Re-Enter \nMetrology Password"); |  | set lable |  | screen_metro_pswd.c

## Menu List PARAMETER
STT | function call | Display value | varible name | Note | file
1
2
3
4
5
6

## Menu List INFO
STT | function call | Display value | varible name | Note | file
1 | lv_label_set_text(_infoHedingLbl, "Info"); | Info |  | set label | screen_info.c
2 | lv_label_set_text(_infoDeviceNumTxtLbl, "DEVICE NUMBER:"); | DEVICE NUMBER |  | set label | screen_info.c
3 | lv_label_set_text(_infoLabNameTxtLbl, "Lab NAME:"); | Lab NAME |  | set label | screen_info.c
4 | lv_label_set_text(_infoDeviceNumValLbl, "68-356"); | 68-356 |  | set label | screen_info.c
5 | lv_label_set_text(_infoLabNameValLbl, "1356"); | 1356 |  | set label | screen_info.c
6 | lv_img_set_src(_infoQRcodeImg, &QRcode_logo); | QR code | _infoQRcodeImg | display QR code | screen_info.c
7 | lv_label_set_text(_infoDeviceIDTxtLbl, "DEVICE ID:"); | DEVICE ID: |  | set label | screen_info.c
8 | lv_label_set_text(_infoDeviceIDValLbl, "68-356"); | 68-356 |  | set label | screen_info.c

## Start Job
STT | function call | Display value | varible name | Note | file
1 | lv_label_set_text(_xaParameterHeading_Adv, Seq_Name ); | Sequence | Seq_Name |  | screen_preset.c
1.1 | v_label_set_text(_xaSeq_Num_Adv, Seq_Number ); | "1", "2" … "15" | _xaSeq_Num_Adv |  | screen_preset.c
2 | _xaGoToNextCont_Adv = lv_cont_create(xaParentContainer_Adv, NULL); |  |  | set button image | screen_preset.c
3 | lv_label_set_text(_xaStartLabel_Adv, "START : "); | START : |  | set lable | screen_preset.c
4 | _xaHourroller = lv_roller_create(_xaDMYCon_Adv, NULL); _xaMinutroller = lv_roller_create(_xaDMYCon_Adv, NULL); |  | _xaHourroller _xaMinutroller | set roller hour and minute | screen_preset.c
5 | lv_label_set_text(_xaSPLabel_Adv, "SETPOINT : "); | SETPOINT : |  | set lable | screen_preset.c
6 | lv_label_set_text(_xaDurLabel_Adv, "DURATION : "); | DURATION : |  | set lable | screen_preset.c
7 | _xsSProller = lv_roller_create(_xaSPDurCon_Adv, NULL); |  |  | Roller to hold SETPOINT Value | screen_preset.c
8 | lv_label_set_text(_xaLPMTxtLabel_Adv, "L/Min"); | L/Min |  | set lable | screen_preset.c
9 | _xsDurHourroller = lv_roller_create(_xaSPDurCon_Adv, NULL); |  |  | Roller to hold Duration Hours Value | screen_preset.c
10 | lv_label_set_text(_xaDurHourTxtLabel_Adv, "hour"); | hour |  | set lable | screen_preset.c
11 | _xsDurMinutroller = lv_roller_create(_xaSPDurCon_Adv, NULL); |  |  | Roller to hold Duration Minut Value | screen_preset.c
12 | lv_label_set_text(_xaDurMinTxtLabel_Adv, "min"); | min |  | set lable | screen_preset.c
13 | lv_label_set_text(_xaValidButtonLabel, "VALID"); | VALID |  | set lable for button
1 | lv_label_set_text(__xssSummaryHeadingLbl_ss, "Summary Start"); | Summary Start |  |  | screen_summary_start.c
2 | lv_label_set_text(__xssStartTxtLbl_ss, "START:"); | START : |  | set lable | screen_summary_start.c
3 | lv_label_set_text(__xssStopTxtLbl_ss, "STOP:"); |  |  |  | screen_summary_start.c
4 | lv_label_set_text_fmt(__xssStartTimeLbl_ss, "%sH %sM",_xaHourrollerbuf, _xaMinutrollerbuf); |  |  |  | screen_summary_start.c
5 | lv_label_set_text_fmt(__xssSampleNunLbl_ss, "SAMPLE N° %d", sampleNumber); |  |  | set lable and value of sample number | screen_summary_start.c
6 | lv_label_set_text(__xssFlowStPTxtLbl_ss, "FLOW SET POINT"); | FLOW SET POINT |  | set lable | screen_summary_start.c
7 | lv_label_set_text(__xssSeqNumTxtLbl_ss, "SEQUENCE NUMBER"); | SEQUENCE NUMBER |  | set lable | screen_summary_start.c
8 | lv_label_set_text(__xssDurationTxtLbl_ss, "DURATION"); | DURATION |  | set lable | screen_summary_start.c
9 | lv_label_set_text(__xssPersonTxtLbl_ss, "START PERSON"); | START PERSON |  | set lable | screen_summary_start.c
10 | lv_label_set_text(__xssLtrCntrTxtLbl_ss, "LITER COUNTER"); | LITER COUNTER |  | set lable | screen_summary_start.c
11 | lv_label_set_text(__xssHrCntrTxtLbl_ss, "HOUR COUNTER"); | HOUR COUNTER |  | set lable | screen_summary_start.c
12 | lv_label_set_text_fmt(__xssFlowStPValueLbl_ss, "%s L/Min", _xsSProllerbuf); |  |  |  | screen_summary_start.c
13 |  |  |  |  | screen_summary_start.c
14 | lv_label_set_text(__xssSeqNumValueLbl_ss, WseqNum1); | "1" or "2" …. "20" |  | value of "WseqNum1" will set in file "screen_preset.c" | screen_summary_start.c
15 | lv_label_set_text_fmt(__xssDurationValueLbl_ss, "%sH %sM ",_xsDurHourrollerbuf, _xsDurMinutrollerbuf); |  |  |  | screen_summary_start.c
16 | lv_label_set_text(__xssPersonNameLbl_ss, _pPersonName_); | "Mark" |  |  | screen_summary_start.c
17 | lv_label_set_text_fmt(__xssLtrCntrValLbl_ss, "%0.2lf" ,total_liters1); |  |  |  | screen_summary_start.c
18 | lv_label_set_text_fmt(__xssHrCntrValLbl_ss, "%0.2f", totalhourVal); |  |  |  | screen_summary_start.c
19 | lv_label_set_text(__xssStartJobTxtLabel_ss, "JOB STARTING IN 10 Sec"); | JOB STARTING IN 10 Sec |  |  | screen_summary_start.c
20 | lv_label_set_text_fmt(__xssStartJobTxtLabel_ss, "JOB STARTING IN %d Sec", revstrttmrcount); | revstrttmrcount |  | set value countdown strttmrcount | screen_summary_start.c
1 | see in "screen_dashboard" sheet
2
3
4
5

## Screen_dashboard_extenede
Screen Dashboard is the most complex screen in the whole gui part. The dashboard screen consist of the basic screen and the container which has the basic functionallity of showing the various screens. The screen can be breakdown in the various parts. One above part is static and the below part depend upon the state of the machine.